Camera Project Updates Summary:

- Pool Area:

  - Original: Cameras at all 4 corners.

  - Updated:

    - One 180° camera on the north wall.

    - One 360° camera covering the south side and breezeway.

    - Radar system for off-hour motion detection.

    - Loudspeaker for addressing unauthorized access.

    - Pending: Coordination with department for weekend schedule to finalize implementation.

- Tech Ed Building:

  - Removed from project scope due to new building already having exterior cameras.

  - Interior cameras to be installed later.

- Math Complex:

  - Removed from scope due to planned removal of the portable area.

- Community Center & Cafeteria:

  - Camera locations adjusted due to cladding concerns.

  - New placements:

    - North corner of bookstore.

    - Alley by the service road between bookstore and community center.

- Fine Arts:

  - Increased from 1 to 2 cameras for enhanced coverage.

- Welcome Center & Counseling:

  - Cameras moved from counseling corner to Welcome Center for better quad views.

  - Addition of Admin cameras eliminated need for original placements.

- Corp Yard:

  - Increased to two 180° cameras due to visual obstructions.

- Portable Village (near parking structure):

  - Increased to two 180° cameras (north and south sides) to improve coverage.