Location Safety Committee - Meeting Notes
Date: October 19, 2026

Time:  1:00 PM

Location: Zoom

Attendees:

- William Wann

- Margaret Lednicky

- Erika Wescoatt

- Koue Vang

- Arthur Jenkins

- Adrienne Andrews

- Amanda James

1. McClellan Fire Alarm Response

- The committee revisited the spring incident involving smoke in the building and questions about whether the alarm system automatically notified the fire department.

- Margaret initially shared information about a separate alarm triggered during a recent fire alarm panel upgrade. William clarified that this was a different incident.

- Detection thresholds and the notification process for the spring incident remain unconfirmed.

- Margaret will clarify how the system functioned during that incident and report back to the committee.

- The discussion reiterated the importance of clear emergency contacts and fire department authorization before reoccupying an evacuated building.

2. HVAC Concerns

CTE

- Facilities Management adjusted the system to begin cooling earlier and increase conditioned airflow to affected rooms.

- Room temperatures were being monitored to evaluate effectiveness.

- Erika reported no additional complaints since the adjustments. The department submitted a work order indicating it had not experienced further issues.

STEM

- Erika reported approximately three weeks of inconsistent temperatures and negative building pressure.

- Reported effects included hot and cold areas, sewer-like odors in the mailroom, and pressure interfering with ADA door operation.

- Technicians have been manually adjusting temperature and pressure as an interim measure.

- Margaret reported that an intermittent supply fan issue in a main air handler had been diagnosed. A replacement electrical component was being sourced, with repair previously targeted for Friday. Completion had not been confirmed.

- Communication delays between building controls were also contributing to inconsistent temperatures. Required parts and technical support were being coordinated.

- No new STEM complaints or work orders had been received that day, but resolution was not confirmed.

3. Phone System Updates

- Updates requested from Minh on outstanding phone system items dating back to April remain pending.

- Koue will follow up and share the information with the committee.

4. Davies Hall Parking and Lighting

- William raised faculty concerns about lighting in alternative parking areas and along routes to workspaces when the Davies Hall parking lot closes.

- Specific locations of concern had not yet been identified.

- Koue confirmed that parking and lighting concerns will be discussed at the October 27 Operations Council meeting.

- Closure timing and alternative parking information will be shared through Admin Bites.

- Koue will raise the request for prominent website information at the following day’s Cabinet meeting and coordinate with the Public Information Office.

5. Administration Building Restroom

- Adrienne requested an update on the damaged stall in the Administration Building women’s restroom.

- Erika will obtain a repair status update from Facilities.

6. Facilities and Construction Updates

- Child Development Center shade structures: Concrete work for Shade 1 is complete, and height adjustments are underway. Shade 2 excavation is on hold pending a construction change directive showing revised post foundation locations. Completion is targeted for the end of November.

- Softball scoreboard replacement: The project is awaiting issuance of the purchase order before Beeline Sports can begin work.

- Baseball and tennis project: Draft working drawings were expected. Margaret noted that the available update was from earlier in the month and she had not yet seen the drawings.

- CTE Automotive hazardous storage: The purchase order has been issued, and the feasibility study is underway. A site meeting with the architect and stakeholders was held to review storage location options.

- Athletic snack bar feasibility studies: Soccer and PE Building studies are complete. Baseball and stadium studies are next.

- Natomas STEAM: Warranty items remain underway. LEED Silver certification was reported.

- Tech Ed modernization: Warranty items and HVAC design concerns remain ongoing. Margaret anticipates a more detailed update next month.

- New Davies Hall: The recent furniture meeting focused on offices. The November meeting will address classroom furniture. Adjustments can still be considered.

- Veterans Resource Center: Construction continues. Occupancy remains anticipated for late spring or early summer 2027.

7. Davies Hall Communications and Celebration

- Additional Davies Hall updates will be shared through Operations Council and Admin Bites.

- A celebration before demolition is being discussed.

- Academic Senate will help identify a suitable date before faculty leave for summer.

Follow-Up Items

- Margaret: Verify the spring McClellan incident’s detection and fire department notification process and share findings. Follow-up was targeted for October 20.

- Margaret/Facilities Management: Confirm the STEM supply fan repair status and obtain a timeline for controls-related work.

- Operations/Facilities Management: Continue monitoring HVAC concerns in affected buildings.

- Koue: Obtain outstanding phone system updates from Minh and distribute them.

- Koue/Operations Council: Discuss alternative parking, lighting concerns, and closure communications on October 27.

- Koue: Raise website communication needs at Cabinet on October 20 and coordinate with PIO.

- Erika: Obtain a repair update for the Administration Building women’s restroom stall.

- Academic Senate: Coordinate a proposed Davies Hall celebration date.